## Sheet1
Calibration Charges: Sub-div#2.01 LF, HF Impedance & DC Metrology (w.e.f. 01.04.2023)
DC Voltage, DC Current, DC Resistance & DC Charge
Sl. No. | Parameter | Item Type / Group | Item Name | Alias Name | Range | No of points for calibration | Revised Charges as per CSIR guidlines | Additional Charges Rs. | Description for Additional Charges
1 | DC Voltage | DC voltage source | Nanoscan DC Voltage Standard | Zener Refrence Standard | 1, 1.018 & 10V | 1 to 2 points | 95590 | 26136 | For each additional 1 point
2 | DC Current | DC current source | Transconductance Amplifier (up t0 20A) |  | 1 microA to 20 A | 3 points (one range) | 71390 | 14883 | For each additional 3 point
3 | DC Current | DC current source | Transconductance Amplifier |  | 1 microA to100 A | 3 points (one range) | 95590 | 14883 | For each additiona3 point
4 | DC Resistance | DC standard Resistor/ DC Resistance source | Fixed Value Resistor and high Current Shunt |  | 0.1 μΩ to 1 TΩ | one point (for each volt/ current) Current range up to 2000A,Voltage range up to 1000V & Resistance upto 1 G Ω | 36300 | 36300 | For each additional 1 point
5 | DC Resistance | High resistance meter |  | High resistance meter | 10 μΩ to 1TΩ | 3 points (one range) | 95590 | 14883
6 | DC Voltage, Current & Resistance | DC Voltage, Current & Resistance source | DC Calibrator 7½ digit & above | Calibrator | 10 μV to 1 kV, 1 μA to 20A, 1 Ω to 10 GΩ | 3 points (one range) | 127897 | 14883 | For each additional 3 points in one range
7 | DC Voltage ,Current & Resistance | DC Voltage, Current & Resistance meter | Digital Multimeter 7½ digit & above | DMM | 10 μV to 1 kV, 1 μA to 20A, 1 Ω to 10 GΩ | 3 points (one range) | 127897 | 14883 | For each additional 3 points in one range
8 | DC current | DC Current source /meter | current source/pico ammeter/ electrometer |  | 1pA to 10 mA | 3 points per range | 62920 | 9680 | For each additional 3 points in one range
9 | DC Charge | Charge amplifier | Electrometer/ charge amplifier |  | 100 pC to 2 µC | 3 points per range | 62920 | 9680 | For each additional 3 points in one range
10 | DC Charge | Charge Amplifier | coloumb meter |  | 2 µC to 1 nC |  | 21780
11 | DC Voltage, Current & Resistance | DC Voltmeter | Nano voltmeter |  | 100 nV to 100V | 3 points per range | 41140 | 7744 | For each additional 3 points in one range
12 | DC current | DC Current source | current coil |  | 0 to 20A |  | 20570
13 | DC voltage & current | DC voltage & current source | DC power supply |  | up to 1000V & 20A |  | 16940
14 | DC & AC Voltage , current & resistance | DC & AC Voltage , current & Resistance Meter | Digital multimeter 6 & 1/2 digit | DMM | DC Parameters: 10 m V - 1 kV, 1 A - 20 A, 1 Ω to -100 M Ω AC parameters: 1 mV – 1000 V(10 Hz – 1 MHz),1 mA – 20 A(40 Hz – 10 kHz) | In DC : 3 points (in each range) I n A C : 3 f r e q u e n c y p o i n t s a n d a t e a c h f r equency - 3 Voltage and 3 Current levels covering the entire range of DUC | 18634 | 1815 | For each additional 3 points in one range
15 | AC/DC Voltage AC/DC Current, Frequency, DC Resistance, Capacitance, RTD, Thermocouple | DC Voltage, Current & Resistance source | Multiproduct/mult ifunction Calibrator 6½ digit | Calibrator | 10 μV to 1 kV ,1 μA to 20A , 1 Ω to 10 GΩ | In DC : 3 points for voltage and current (one range) DC resistance in decade values In AC : Seven levels @3 frequencies Seven points in frequency | 71616 | 10890 | For each additional frequency or points
16 | DC Voltage, Current, Resistance, RTD, Thermocouple | DC Voltage, Current & Resistance source & measure | Hand Held Calibrator 5& 1/2 digit and 4& 1/2 | Hand Held Multi function calibrator | 10 μV to 1 kV ,1 μA to 20A , 1 Ω to 10 GΩ | At discrete points | 40924 | 1210 | For each points
17 | Thermocouple | DC voltage simulation method, source and measure | Hand held thermometers and thermal indicators |  | 10 μV to 10V | At discrete points | 25740