## Sheet1
Calibration Charges: D6.03b, Magnetic Metrology Section (w.e.f. 01.04.2021)
Magnetic Flux Density, Resonance Frequency, Magnetic Field, Magnetic Flux, Volt.Sec, Magnetic Power Loss, Permeability & Coerecivity and Turn Area
Sl. No | Parameter | Item Type/Group | Item Name | Alias Name | Range | No. of Points for Calibration / Procedure No. | Limitation / Condition | Charges per Item Rs. | Additional Charges Rs. | Description for Additional Charges
1 | Magnetic Flux Density/Resonance Frequency | NMR Magnetometer | NMR Magnetometer with probes (DC Magnetic field) | NMR Gaussmeter/ Teslameter | 500G to 15kG(0.05Tesla to 1.5 Tesla) | 5 |  | 50400 | 8400 | for each additional point
2 | Magnetic Flux Density / Magnetic Field | Gauss Meter | Gauss Meter with one probe (DC Magnetic Field) | Magnetometer | 100 G to 10 kG | 8 |  | 25000
3 | Magnetic Flux Density / Magnetic Field | Gauss Meter | Gauss Meter with one probe (AC Magnetic Field) | Magnetometer | 50 G to 2 kG | 4 |  | 15000
4 | Magnetic Flux Density / Magnetic Field | Gauss Meter | Gauss Meter with one probe (AC & DC Magnetic Field) | Magnetometer | DC (100 G to 10 kG), AC (50 G to 2 kG) | 12 |  | 33500 | 33500
5 | Magnetic Flux Density / Magnetic Field | Magnetic Field Indicator | Magnetic Field Indicator | Residual Magnetic Gauss Meter | 2 G to 20 G/-10G to +10G | 5 |  | 37000
6 | Magnetic Flux Density / Magnetic Field | Low field Magnetometer | Fluxgate Magnetometer/AMR Magnetometer/Hall Effect Magnetometer | Low field Magnetometer | 10 mG to 20 G | 10 |  | 41000 | 9500 | for each additional point
7 | Magnetic Flux Density / Magnetic Field | Magnet | Magnet (Fixed value) | Reference Magnet |  | Single Point |  | 9500 | 9500 | for each additional point
8 | Magnetic Flux | Magnetic Flux Meter | Magnetic Flux Meter |  | 10E+4 to 10E+8 Maxwell | 8 |  | 25000
9 | Volt.Sec | Flux Meter Calibrator | Flux Meter Calibrator |  | 0.0001V.s to 10 V.s | 8 |  | 25000
10 | Magnetic Power Loss | Epstien Sample | Epstien Sample |  | 1 W/kg to 20 W/kg |  |  | 70200
11 | Permeability | AlNiCo Magnet | AlNiCo Magnet |  |  |  |  | 20500
12 | Turn Area | Search Coil | Search Coil |  | 0.0002 to 0.2m² |  |  | 13000