## Sheet1
Testing Charges: D 5.01 In-House BND Group (w.e.f. 01.04.2021) | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Unnamed: 7 | Unnamed: 8
X-ray Analysis
Sl. No. | Area of Testing | Sample / Item Name | Test Parameters | Sample Requirements, if any | Testing Charges per Sample Rs | Additional Charges Rs | Description of Additional Charges | Remarks, if any
1 | X-ray Flourescencee Analysis | Solid (disc form), powder (pressed into pellet form) | Qualitative elemental analysis (one lelement) | Disc/pellet daimeter: min15 mm, max35mm withflat surface | 7100 |  |  | By X-ray Fluorescence Analysis
2 | Powder X-ray Diffraction Analysis | Polycrystalline materials | Diffraction pattern and 'd' values | 1. particle size: 5to 30 micron 2. Sample weight min 2g | 4600 |  |  | By powder X-ray diffractometer, toxic,hygroscopic and radioactive sapmles cannot be accepted.
Surface and EPR Analysis
3 | HRTEM with EDS | Powder and Thin film on NaCl crystal | Lattice fringes, microstructures, SAED pattern, Elemental analysis etc. | Powder and thin film | 11250 |  |  | Provide Carbon coated Copper grid with each sample
4 | Surface Analysis by SIMS | Any Conducting / Semi- conducting material | SIMS Mass spectra | Samples should be in the form of thin films or thin pellets or wafers with smooth top surface; Size of the sample: Max.10x10x2 mm, Min. 5x5x1 mm | 14000 |  | For Quantification if standard sample is supplied by NPL | Impurity Detection in ppm level
5 6 | Scanning Electron Microscopy (SEM) | Solid/Powder/Fil on solid substrate | m Surface Morphology/Grain size/Fracture/Microcrack | Sample size should be less than 10 x 10 mm | 5800 | NIL | NIL | Liquid samples can not be accpted
| Energy Dispersive Spectroscopy (EDS) | Flat solid sample/Pallet/Bu sample | lkElemental Analysis | Sample size: less than 10 x 10 mm and thickness upto 10 mm | 8800 | NIL | NIL | Liquid samples can not be accepted
7 | EPR spectromenter | Sample in Powder, thin film and liquid form at room temprature |  |  | 6000
8 | Magneto Rheometer | At room temprature |  |  | 8000