## Sheet1
Testing Charges: D 5.02 Outreach and RMP Group (w.e.f. 01.04.2021) | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Unnamed: 7 | Unnamed: 8
Sl. No. | Area of Testing | Sample / Item Name | Test Parameters | Sample Requirements, if any | Testing Charges per Sample Rs | Additional Charges Rs | Description of Additional Charges | Remarks, if any
1 | High Resolution X- ray Diffraction (HRXRD) | Single crystalline material | Diffraction curve | Sample must be single crystal with polished surface or epitaxial film having thickness in the order of few micron. Crystal structure and surface orientation should be provided. Sample size: Min 8x4x0.5 mm, Max 100 mm dia | 5300 | NIL |  | BY multicrystal X-ray Diffractometer with sealed XRT source.