## Sheet1
Calibration Charges: D1.05, Force and Hardness Standards (Proposed from 01.04.2024) | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | Unnamed: 10 | Unnamed: 11 | EDC | Unnamed: 13
Force, Torque & Hardness
Sl. No. | Paramet er | Item Type / Group | Item Name | Alias Name | Range | No. of Points for Calibration | Limitation / Condition | Charges per Item Rs. | Additional Charges Rs. | Description for Additional Charges | Remarks, if any | Normal | Tatkal
1 | Force | Force Proving Instruments | Proving Ring/ Load cell | Integral Ring / Load Column / Dynamometer | Capacity upto 100 kN, As per IS 4169:2014 | 10 (Compression / Tension Mode) | Compression Pads/Tension Shackles required* | 20000 | 2000 | For each additional point | 1.5 times for reversibility measurements. 1.5 times extra charges if calibration is to be done on 100kN/1MN primary Mahine *Rs 1500 extra if NPL pads used. | 3 weeks | 3 days
2 | Force | Force Proving Instruments | Proving Ring/ Load cell | Integral Ring / Load Column / Dynamometer | Capacity upto 1000 kN, As per IS 4169:2014 | 10 (Compression / Tension Mode) | Compression Pads/Tension Shackles required* | 37800 | 3780 | For each additional point | 1.5 times for reversibility measurements. 1.5 times extra charges if calibration is to be done on 100kN/1MN primary Mahine *Rs 1500 extra if NPL pads used. | 3 weeks | 3 days
3 | Force | Force Proving Instruments | Proving Ring/ Load cell | Integral Ring / Load Column / Dynamometer | Capacity upto 2000 kN, As per IS 4169:2014 | 10 (Compression mode only) | Compression Pads required | 57800 | 5780 | For each additional point |  | 3 weeks | 3 days
4 | Force | Force Proving Instruments | Proving Ring/ Load cell | Integral Ring / Load Column / Dynamometer | Capacity upto 3000 kN, As per IS 4169:2014 | 10 (Compression mode only) | Compression Pads required | 80000 | 8000 | For each additional point |  | 3 weeks | 3 days
5 | Torque | Torque Measuring Devices | Torque Meter | Torque Tester / Torque Wrench Tester / Torque Transducer | Capacity upto 20 Nm | 10 (Clockwise / Anti-clockwise direction) | Using flange type coupling | 13000 | 1300 | For each additional point | Charges are 1.5 times for devices using primary torque machine | 3 weeks | 3 days
6 | Torque | Torque Measuring Devices | Torque Meter | Torque Tester / Torque Wrench Tester / Torque Transducer | Capacity upto 2000 Nm | 10 (Clockwise / Anti-clockwise direction) | Using flange type coupling | 27300 | 2730 | For each additional point | Charges are 1.5 times for devices using primary torque machine | 3 weeks | 3 days
7 | Hardness | Hardness Blocks | Rockwell Hardness Block |  | Rockwell Scales: A, B, C, D, E, F, G, H, K, N, T | Value assignment at 5 points |  | 3200 |  |  |  | 3 weeks | 3 days
8 | Hardness | Hardness Block | Vickers Hardness Block |  |  | Value assignment in any single range |  | 5000 |  |  |  | 3 weeks | 3 days
9 | Hardness | Hardness Block | Brinell Hardness Block |  |  | Value assignment in any single range |  | 5000 |  |  |  | 3 weeks | 3 days
10 | Force | Force Proving Instruments | Load cell | Load cell | Capacity upto 50kN for Reference values | 10 (Compression Mode) | Compression Pads* | 81000 | 8100 | For each additional point |  | 4-5 months
11 | Force | Force Proving Instruments | Load cell | Load cell | Capacity above 50kN up to 1000kN for Reference values | 10 (Compression Mode) | Compression Pads* | 157500 | 15750 | For each additional point |  | 4-5 months
Site calibration *
12 | Force | Force Calibrators | Force Calibration machines | Deadweight/ hydraulic multiplication Force machine | upto 100 kN | 10 (per range 10% to 100%) | Site Calibration | 106000 | 10600 | For each additional point | On request | Would be provided at the time of acceptance | Would be provided at the time of acceptance
13 | Force | Force Calibrators | Force Calibration machines | Deadweight/ hydraulic multiplication Force machine | upto 1000 kN | 10 (per range 10% to 100%) | Site Calibration | 185000 | 18500 | For each additional point | On request | Would be provided at the time of acceptance | Would be provided at the time of acceptance
14 | Force | Force Calibrators | Force Calibration machines | hydraulic multiplication, Comparator Force machine | upto 3000 kN | 10 (per range 10% to 100%) | Site Calibration | 330000 | 33000 | For each additional point | On request
15 | Torque | Torque Calibrators | Torque Calibration machines | Deadweight, Comparator Torque machine | 2000 Nm | 10 (per range 10% to 100%) | Site Calibration using flange type coupling | 108000 | 10800 | For each additional point | On request | Would be provided at the time of acceptance | Would be provided at the time of acceptance
16 | Torque | Torque Calibrators | Torque Calibration machines | Deadweight, Comparator Torque machine | 2000 Nm | 10 (per range 10% to 100%) | Site Calibration using shaft type coupling | 156000 | 15600 | For each additional point | On request | Would be provided at the time of acceptance | Would be provided at the time of acceptance